Copyright 2022 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

SECTION 013233 - PHOTOGRAPHIC DOCUMENTATION

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Content Requests:

<Double click here to submit questions, comments, or suggested edits to this Section.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for the following:

          - Preconstruction photographs.

          - Concealed Work photographs.

          - Periodic construction photographs.

          - Time-lapse sequence construction photographs.

          - Final Completion construction photographs.

          - Preconstruction video recordings.

          - Periodic construction video recordings.

          - Time-lapse sequence construction video recordings.

          - Construction webcam.

        - Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

          - Section 017700 "Closeout Procedures" for submitting photographic documentation as Project Record Documents at Project closeout.

          - Section 017900 "Demonstration and Training" for submitting video recordings of demonstration of equipment and training of Owner's personnel.

          - Section 024116 "Structure Demolition" for photographic documentation before building demolition operations commence.

          - Section 024119 "Selective Demolition" for photographic documentation before selective demolition operations commence.

          - Section 311000 "Site Clearing" for photographic documentation before site clearing operations commence.

      - INFORMATIONAL SUBMITTALS

        - Key Plan: Submit key plan of Project site and building with notation of vantage points marked for location and direction of each [photograph] [and] [video recording]. Indicate elevation or story of construction. Include same information as corresponding photographic documentation.

        - Digital Photographs: Submit image files within [three] <Insert number> days of taking photographs.

          - Submit photos [on CD-ROM or thumb-drive] [by uploading to web-based Project management software site]. Include copy of key plan indicating each photograph's location and direction.

          - Identification: Provide the following information with each image description [in file metadata tag] [in web-based Project management software site]:

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Architect[ and Construction Manager].

            - Name of Contractor.

            - Date photograph was taken.

            - Description of location, vantage point, and direction.

            - Unique sequential identifier keyed to accompanying key plan.

Retain "Printed Photographs" Paragraph below if Contractor is required to submit prints of digital photographs in addition to digital file submittal.

        - Printed Photographs: Submit [two] <Insert number> sets of prints of each photographic view within [seven] <Insert number> days of taking photographs.

          - Format: 8-by-10-inch (203-by-254-mm) smooth-surface matte prints on single-weight, paper; enclosed back to back in clear plastic sleeves punched for three-ring binder. Include copy of key plan indicating each photograph's location and direction. Provide one binder for each set of prints.

          - Identification: On back of each print, label with the following information:

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Architect[ and Construction Manager].

            - Name of Contractor.

            - Date photograph was taken if not date stamped by camera.

            - Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

            - Unique sequential identifier keyed to accompanying key plan.

        - Video Recordings: Submit video recordings within [seven] <Insert number> days of recording.

          - Submit video recordings [on CD-ROM or thumb drive] [by uploading to web-based Project management software site]. Include copy of key plan indicating each video's location and direction.

          - Identification: With each submittal, provide the following information [in file metadata tag] [on web-based Project management software site]:

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Architect[ and Construction Manager].

            - Name of Contractor.

            - Date video recording was recorded.

            - Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

Retain "Transcript" Subparagraph below if written transcript is required for Project.

          - Transcript: Prepared on 8-1/2-by-11-inch (215-by-280-mm) paper, punched and bound in three-ring binders. Provide label on front and spine. Include a cover sheet with label information. Include name of Project and date of video recording on each page.

Retain "Time-Lapse Video" Paragraph below if requiring Contractor to use Project webcam service. Revise to suit Project.

        - Time-Lapse Video: Submit time-lapse sequence video recordings within <Insert number> days of recording.

          - Submit time-lapse sequence video recordings [monthly] <Insert frequency> [on CD-ROM or thumb drive] [by uploading to web-based Project management software site].

          - Identification: For each recording, provide the following information [in file metadata tag] [on web-based Project management software site]:

            - Name of Project.

            - Name and contact information for photographer.

            - Name of Architect[ and Construction Manager].

            - Name of Contractor.

            - Date(s) and time(s) video recording was recorded.

            - Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

      - QUALITY ASSURANCE

Retain "Photographer Qualifications" Paragraph below when Project circumstances warrant services of a professional photographer in lieu of ordinary documentation by Contractor's Project staff. The advent of digital photography has made it less necessary to have a professional photographer for ordinary construction progress documentation.

        - Photographer Qualifications: An individual who has been regularly engaged as a professional photographer of construction projects for not less than three years.

Retain "Construction Webcam Service Provider" Paragraph below when Contractor is required to provide webcam service.

        - Construction Webcam Service Provider: A firm specializing in providing photographic equipment, web-based software, and related services for construction projects, with a record of providing satisfactory services similar to those required for Project.

      - FORMATS AND MEDIA

Vibration-reduction technology in "Digital Photographs" Paragraph below makes more stable images at low shutter speeds and long focal lengths, and is available in some cameras.

        - Digital Photographs: Provide color images in JPG format, produced by a digital camera with minimum sensor size of [12] <Insert number> megapixels, and at an image resolution of not less than [3200 by 2400] <Insert resolution> pixels[, and with vibration-reduction technology]. Use flash in low light levels or backlit conditions.

Vibration-reduction technology in "Digital Video Recordings" Paragraph below makes more stable images and is available in some cameras.

        - Digital Video Recordings: Provide high-resolution, digital video in MPEG format, produced by a digital camera with minimum sensor resolution of [12] <Insert number> megapixels and capable of recording in full high-definition mode[ with vibration-reduction technology]. Provide supplemental lighting in low light levels or backlit conditions.

        - Digital Images: Submit digital media as originally recorded in the digital camera, without alteration, manipulation, editing, or modifications using image-editing software.

Many cameras can provide GPS location data, using internal or external GPS location sensors. This data may be especially useful on larger sites to help determine location.

        - Metadata: Record accurate date and time [and GPS location data ]from camera.

        - File Names: Name media files with [date] [Project area] <Insert requirement> and sequential numbering suffix.

      - CONSTRUCTION PHOTOGRAPHS

See the Evaluations for other methods of assigning responsibility in "Photographer" Paragraph below.

        - Photographer: Engage a qualified photographer to take construction photographs.

        - General: Take photographs with maximum depth of field and in focus.

          - Maintain key plan with each set of construction photographs that identifies each photographic location.

Retain "Preconstruction Photographs" Paragraph below if required to show preexisting conditions. Coordinate with pre-demolition photographs specified in Section 024116 "Structure Demolition," Section 024119 "Selective Demolition," and Section 311000 "Site Clearing."

        - Preconstruction Photographs: Before commencement of the Work, take photographs of Project site and surrounding properties, including existing items to remain during construction, from different vantage points, as directed by [Architect] [Construction Manager].

          - Flag [excavation areas] [construction limits] before taking construction photographs.

          - Take [20] <Insert number> photographs to show existing conditions adjacent to property before starting the Work.

          - Take [20] <Insert number> photographs of existing buildings either on or adjoining property, to accurately record physical conditions at start of construction.

          - Take additional photographs as required to record settlement or cracking of adjacent structures, pavements, and improvements.

        - Concealed Work Photographs: Before proceeding with installing work that will conceal other work, take photographs sufficient in number, with annotated descriptions, to record nature and location of concealed Work, including, but not limited to, the following:

          - Underground utilities.

          - Underslab services.

          - Piping.

          - Electrical conduit.

          - Waterproofing and weather-resistant barriers.

          - <Insert description of Work>.

Requirements in "Periodic Construction Photographs" Paragraph below are minimal but adequate for many projects. If needed, add requirement for photographs to be taken of spaces that contain utilities before enclosing finishes are installed. Last option is generally used with monthly photographs.

        - Periodic Construction Photographs: Take [20] [50] <Insert number> photographs [weekly] [monthly] <Insert time interval> [coinciding with the cutoff date associated with each Application for Payment]. Select vantage points to show status of construction and progress since last photographs were taken.

Retain "Time-Lapse Sequence Construction Photographs" Paragraph below if Project circumstances justify extensive photographic requirements. Revise to suit Project. Requirements are more detailed than necessary for many projects.

        - Time-Lapse Sequence Construction Photographs: Take [20] <Insert number> photographs as indicated, to show status of construction and progress since last photographs were taken.

          - Frequency: Take photographs [monthly, on the same date each month] [weekly, on the same day each week] <Insert time interval>.

          - Vantage Points: Following suggestions by [Architect] [Construction Manager] and Contractor, photographer to select vantage points. During each of the following construction phases, take not less than [two] <Insert number> of the required shots from same vantage point each time, to create a time-lapse sequence as follows:

Revise phase descriptions in subparagraphs below to suit Project.

            - Commencement of the Work, through completion of subgrade construction.

            - Above-grade structural framing.

            - Exterior building enclosure.

            - Interior Work, through date of Substantial Completion.

            - <Insert vantage point>.

        - Final Completion Construction Photographs: Take [20] [50] [100] <Insert number> photographs after date of Substantial Completion for submission as Project Record Documents. [Architect] [Construction Manager] will inform photographer of desired vantage points.

        - Additional Photographs: Architect[ or Construction Manager] may request photographs in addition to periodic photographs specified. Additional photographs will be paid for by Change Order and are not included in the Contract Sum[ or in the allowance for construction photographs].

          - Three days' notice will be given, where feasible.

          - In emergency situations, take additional photographs within 24 hours of request.

          - Circumstances that could require additional photographs include, but are not limited to, the following:

List below is an example only. Revise to suit Project.

            - Special events planned at Project site.

            - Immediate follow-up when on-site events result in construction damage or losses.

            - Photographs are to be taken at fabrication locations away from Project site. These photographs are not subject to unit prices or unit-cost allowances.

            - Substantial Completion of a major phase or component of the Work.

            - Extra record photographs at time of final acceptance.

            - Owner's request for special publicity photographs.

      - CONSTRUCTION VIDEO RECORDINGS

See the Evaluations for other methods of assigning responsibility in "Video Recording Photographer" Paragraph below.

        - Video Recording Photographer: Engage a qualified videographer to record construction video recordings.

Retain "Narration" and "Transcript" paragraphs below if required. Requirements are more extensive than necessary for many projects. If Owner requires original video recording to be unrevised, retain first option in first paragraph. Revise to suit Project.

        - Narration: Describe scenes on video recording by [audio narration by microphone while] [or] [dubbing audio narration off-site after] video recording is recorded. Include description of items being viewed, recent events, and planned activities. At each change in location, describe vantage point, location, direction (by compass point), and elevation or story of construction.

          - Confirm date and time at beginning and end of recording.

          - Begin each video recording with name of Project, Contractor's name, videographer's name, and Project location.

        - Transcript: Provide a typewritten transcript of the narration. Display images and running time captured from video recording opposite the corresponding narration segment.

Retain "Preconstruction Video Recording" Paragraph below if required to show preexisting conditions. Coordinate with pre-demolition photographs specified in Section 024116 "Structure Demolition," Section 024119 "Selective Demolition," and Section 311000 "Site Clearing."

        - Preconstruction Video Recording: Before starting [excavation] [demolition] [construction], record video recording of Project site and surrounding properties from different vantage points, as directed by [Architect] [Construction Manager].

Revise subparagraphs below to suit Project.

          - Flag [excavation areas] [construction limits] before recording construction video recordings.

          - Show existing conditions adjacent to Project site before starting the Work.

          - Show existing buildings either on or adjoining Project site to accurately record physical conditions at the start of [excavation] [demolition] [construction].

          - Show protection efforts by Contractor.

Retain "Periodic Construction Video Recordings" or "Time-Lapse Sequence Construction Video Recordings" Paragraph below, or replace both with another method if Project requires greater service and the Contract Sum includes costs.

Requirements in "Periodic Construction Video Recordings" Paragraph below are minimal but adequate for most projects. Fourth option is generally used with monthly photographs.

        - Periodic Construction Video Recordings: Record video recording [monthly] [weekly] <Insert time interval> [coinciding with the cutoff date associated with each Application for Payment]. Select vantage points to show status of construction and progress since last video recordings were recorded. Minimum recording time to be [30] <Insert number> minutes(s).

Retain "Time-Lapse Sequence Construction Video Recordings" Paragraph below if Project circumstances justify extensive video recording requirements. Revise to suit Project. Requirements are more detailed than necessary for many projects.

        - Time-Lapse Sequence Construction Video Recordings: Record video recording to show status of construction and progress.

          - Frequency: During each of the following construction phases, set up video recorder to automatically record one frame of video recording every [five] <Insert time> minutes, from same vantage point each time, to create a time-lapse sequence of [30 minutes] <Insert time> in length as follows:

Revise phase descriptions below to suit Project.

            - Commencement of the Work, through completion of subgrade construction.

            - Above-grade structural framing.

            - Exterior building enclosure.

            - <Insert construction phase>.

          - Timer: Provide timer to automatically start and stop video recorder, so recording occurs only during [daylight] [construction work] hours.

          - Vantage Points: Following suggestions by [Architect] [Construction Manager] and Contractor, photographer to select vantage points.

      - CONSTRUCTION WEBCAM

        - Webcam: Provide [one] [two] <Insert number> fixed-location camera(s) with weatherproof housing, mounted to provide unobstructed view of construction site from location approved by Architect, with the following characteristics:

Revise second option in first subparagraph below to suit Project.

          - [Static view] [Remotely controllable view with mouse-click user navigation for horizontal pan, vertical tile, and optical zoom of 500 percent minimum].

          - Capable of producing minimum [8] [12] <Insert number> megapixel images.

          - Provide [pole mount,] [parapet mount,] power supply, [solar power station,] active high-speed data connection to service provider's network, and static public IP address for each camera.

Some construction projects have work hours that extend beyond daytime hours.

        - Live Streaming Images: Provide web-accessible image of current site image, updated at [five] [15] <Insert number>-minute intervals [during daytime operation] [when construction is underway].

        - Web-Based Interface: Provide online interface to allow viewing of each high-definition digital still image captured and stored during construction, from the Internet.

          - Access Control: Provide password-protected access for Project team administered by Contractor, providing current image access and archival image access by date and time, with images downloadable to viewer's device.

          - Software: Provide responsive software interface for use on computer, tablet, and mobile screens with accompanying iPhone/iPad app and Android apps.

          - Storage: Maintain images on the website for reference during entire construction period, and for not less than 30 days after Final Completion. Provide sufficient memory on remote server to store all Project images.

          - Online Interface: Provide website interface with Project and client information and logos, calendar-based navigation interface for selecting images, and pan and zoom capability within high-definition images.

          - Forward and Reverse: Provide capability to browse through images, moving forward and backward in time by individual image and by day.

          - Slideshow: Provide capability to automatically display current images from sites when there are three or more cameras used.

          - Time-Lapse: Provide capability for online display of project time-lapse.

          - Dashboard: Provide capability to view thumbnails of all cameras on one screen.

          - Weather: Provide corresponding weather data for each image captured.

Revise subparagraph below if public is to be given more access. Some projects allow access to archives of recorded images; others have a remote-control webcam that anyone on the web can operate.

          - Provide public viewer open access[ to most recent Project camera image].

        - Maintain cameras and web-based access in good working order, in accordance with web-based construction photographic documentation service provider's written instructions until Final Completion. Provide for service of cameras and related networking devices and software.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 013233