Copyright 2018 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

SECTION 015723 - TEMPORARY STORM WATER POLLUTION CONTROL

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Content Requests:

<Double click here to submit questions, comments, or suggested edits to this Section.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

          - Temporary stormwater pollution controls.

      - STORMWATER POLLUTION PREVENTION PLAN

        - The Stormwater Pollution Prevention Plan (SWPPP) is part of the Contract Documents and is bound into this Project Manual.

      - PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

          - Meet with Owner, Architect,[ Construction Manager,] and earthwork subcontractor.

          - Review requirements of the SWPPP, including permitting process, worker training, and inspection and maintenance requirements.

      - INFORMATIONAL SUBMITTALS

        - Stormwater Pollution Prevention Plan (SWPP): Within [15] <Insert number> days of date established for commencement of the Work, submit completed SWPPP.

        - EPA authorization under the EPA's "2017 Construction General Permit (CGP)."

        - Stormwater Pollution Prevention (SWPP) Training Log: For each individual performing Work under the SWPPP.

        - Inspection reports.

      - QUALITY ASSURANCE

        - Stormwater Pollution Prevention Plan (SWPPP) Coordinator: Experienced individual or firm with a record of successful water pollution control management coordination of projects with similar requirements.

          - SWPPP Coordinator shall complete and finalize the SWPPP form.

          - SWPPP Coordinator shall be responsible for inspections and maintaining of all requirements of the SWPPP.

        - Installers: Trained as indicated in the SWPPP.

- PRODUCTS

      - TEMPORARY STORMWATER POLLUTION CONTROLS

        - Provide temporary stormwater pollution controls as required by the SWPPP.

- EXECUTION

      - INSTALLATION

        - Comply with all best management practices, general requirements, performance requirements, reporting requirements, and all other requirements included in the SWPPP.

        - Locate stormwater pollution controls in accordance with the SWPPP.

        - Conduct construction as required to comply with the SWPPP and that minimize possible contamination or pollution or other undesirable effects.

          - Inspect, repair, and maintain SWPPP controls during construction.

            - Inspect all SWPPP controls not less than every seven days, and after each occurrence of a storm event, as outlined in the SWPPP.

        - Remove SWPPP controls at completion of construction and restore and stabilize areas disturbed during construction.

END OF SECTION 015723