Copyright 2018 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

SECTION 016000 - PRODUCT REQUIREMENTS

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Content Requests:

<Double click here to submit questions, comments, or suggested edits to this Section.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; and comparable products.

        - Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

          - Section 011000 "Summary" for Contractor requirements related to Owner-furnished products.

          - Section 012100 "Allowances" for products selected under an allowance.

          - Section 012300 "Alternates" for products selected under an alternate.

          - Section 012500 "Substitution Procedures" for requests for substitutions.

          - Section 014200 "References" for applicable industry standards for products specified.

          - Section 01770 "Closeout Procedures" for submitting warranties.

      - DEFINITIONS

Always retain this article. These definitions refer specifically to contents of this Section and are not repeated in Section 014200 "References."

        - Products: Items obtained for incorporating into the Work, whether purchased for Project or taken from previously purchased stock. The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

          - Named Products: Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature that is current as of date of the Contract Documents.

          - New Products: Items that have not previously been incorporated into another project or facility. Salvaged items or items reused from other projects are not considered new products. Items that are manufactured or fabricated to include recycled content materials are considered new products, unless indicated otherwise.

          - Comparable Product: Product by named manufacturer that is demonstrated and approved through the comparable product submittal process described in Part 2 "Comparable Products" Article, to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

Retain "Basis-of-Design Product Specification" Paragraph when this specification method appears in Project Specifications. This method has been introduced to comply with AIA A201 requirement for Owner approval of substitution requests by providing advanced inclusion of approved additional named manufacturers of comparable products without identification of each potential complying product. Specifier should ensure that named manufacturers' products meet specification requirements.

        - Basis-of-Design Product Specification: A specification in which a single manufacturer's product is named and accompanied by the words "basis-of-design product," including make or model number or other designation. Published attributes and characteristics of basis-of-design product establish salient characteristics of products.

Retain option in "Evaluating Comparable Products" Subparagraph below based upon intent of Specifications; option enables use of basis-of-design product's published characteristics without detailed inclusion of characteristics in the Section Text.

          - Evaluation of Comparable Products: In addition to the basis-of-design product description, product attributes and characteristics may be listed to establish the significant qualities related to type, function, in-service performance and physical properties, weight, dimension, durability, visual characteristics, and other special features and requirements for purposes of evaluating comparable products of additional manufacturers named in the specification. [Manufacturer's published attributes and characteristics of basis-of-design product also establish salient characteristics of products for purposes of evaluating comparable products.]

        - Subject to Compliance with Requirements: Where the phrase "Subject to compliance with requirements" introduces a product selection procedure in an individual Specification Section, provide products qualified under the specified product procedure. In the event that a named product or product by a named manufacturer does not meet the other requirements of the specifications, select another named product or product from another named manufacturer that does meet the requirements of the specifications; submit a comparable product request or substitution request, if applicable.

        - Comparable Product Request Submittal: An action submittal requesting consideration of a comparable product, including the following information:

          - Identification of basis-of-design product or fabrication or installation method to be replaced, including Specification Section number and title and Drawing numbers and titles.

          - Data indicating compliance with the requirements specified in Part 2 "Comparable Products" Article.

        - Basis-of-Design Product Specification Submittal: An action submittal complying with requirements in Section 013300 "Submittal Procedures."

        - Substitution: Refer to Section 012500 "Substitution Procedures" for definition and limitations on substitutions.

If a product list is required as a Project submittal, consider adding "Action Submittal" Article and requirements for product list here in Part 1. Product list may require several stages of submittal, as Project progresses and purchasing decisions are made by Contractor.

      - QUALITY ASSURANCE

        - Compatibility of Options: If Contractor is given option of selecting between two or more products for use on Project, select product compatible with products previously selected, even if previously selected products were also options.

Retain "Resolution of Compatibility Disputes between Multiple Contractors: Paragraph and both subparagraphs below for Project constructed under multiple contracts. Specification Sections should indicate selection priorities. Below are for unforeseen circumstances only.

          - Resolution of Compatibility Disputes between Multiple Contractors:

            - Contractors are responsible for providing products and construction methods compatible with products and construction methods of other contractors.

            - If a dispute arises between the multiple contractors over concurrently selectable but incompatible products, Architect will determine which products shall be used.

        - Identification of Products: Except for required labels and operating data, do not attach or imprint manufacturer or product names or trademarks on exposed surfaces of products or equipment that will be exposed to view in occupied spaces or on the exterior.

          - Labels: Locate required product labels and stamps on a concealed surface, or, where required for observation following installation, on a visually accessible surface that is not conspicuous.

          - Equipment Nameplates: Provide a permanent nameplate on each item of service- or power-operated equipment. Locate on a visually accessible but inconspicuous surface. Include information essential for operation, including the following:

            - Name of product and manufacturer.

            - Model and serial number.

            - Capacity.

            - Speed.

            - Ratings.

          - See individual identification Sections in Divisions 21, 22, 23, and 26 for additional equipment identification requirements.

      - COORDINATION

        - Modify or adjust affected work as necessary to integrate work of approved comparable products and approved substitutions.

      - PRODUCT DELIVERY, STORAGE, AND HANDLING

This article eliminates need to include this information in each Section. Limit use of this article in each Section to unusual requirements.

        - Deliver, store, and handle products, using means and methods that will prevent damage, deterioration, and loss, including theft and vandalism. Comply with manufacturer's written instructions.

        - Delivery and Handling:

Revise four subparagraphs below to suit Project.

          - Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

          - Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

          - Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

          - Inspect products on delivery to determine compliance with the Contract Documents and that products are undamaged and properly protected.

        - Storage:

          - Provide a secure location and enclosure at Project site for storage of materials and equipment.

          - Store products to allow for inspection and measurement of quantity or counting of units.

          - Store materials in a manner that will not endanger Project structure.

          - Store products that are subject to damage by the elements under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation and with adequate protection from wind.

          - Protect foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

          - Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

          - Protect stored products from damage and liquids from freezing.

Delete subparagraph below if Owner provides own storage facilities.

          - Provide a secure location and enclosure at Project site for storage of materials and equipment by Owner's construction forces. Coordinate location with Owner.

      - PRODUCT WARRANTIES

        - Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents. Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

Warranty in "Manufacturer's Warranty" Subparagraph below is manufacturer's standard and may have exclusions and limitations that do not suit Project. Check warranties and specify special warranties if manufacturers' warranties are unsuitable.

          - Manufacturer's Warranty: Written standard warranty form furnished by individual manufacturer for a particular product and issued in the name of the Owner or endorsed by manufacturer to Owner.

          - Special Warranty: Written warranty required by the Contract Documents to provide specific rights for Owner and issued in the name of the Owner or endorsed by manufacturer to Owner.

        - Special Warranties: Prepare a written document that contains appropriate terms and identification, ready for execution.

          - Manufacturer's Standard Form: Modified to include Project-specific information and properly executed.

          - Specified Form: When specified forms are included in the Project Manual, prepare a written document, using indicated form properly executed.

          - See other Sections for specific content requirements and particular requirements for submitting special warranties.

        - Submittal Time: Comply with requirements in Section 017700 "Closeout Procedures."

Insert specific requirements if a single warranty must cover work by several contractors. Prepare draft of such warranty with advice of Owner's legal counsel and include it at end of this Section.

- PRODUCTS

      - PRODUCT SELECTION PROCEDURES

This article defines procedures for product selection. See the Evaluations for a discussion of various specifying methods and a comparison table of terms in MasterSpec with those in "The CSI Project Delivery Practice Guide, 2nd Edition."

        - General Product Requirements: Provide products that comply with the Contract Documents, are undamaged and, unless otherwise indicated, are new at time of installation.

First six subparagraphs below are examples only; revise to suit Project.

          - Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

          - Standard Products: If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

          - Owner reserves the right to limit selection to products with warranties meeting requirements of the Contract Documents.

          - Where products are accompanied by the term "as selected," Architect will make selection.

          - Descriptive, performance, and reference standard requirements in the Specifications establish salient characteristics of products.

Retain "Or Equal" Subparagraph below only if products are specified by name and the term "or equal" is used; MasterSpec does not follow this practice. As an alternative, consider using "Products" or "Manufacturers" paragraphs where Owner allows naming of available products or manufacturers but does not limit selection to those named and does not consider unnamed products as substitutions, which may require a Change Order or Construction Change Directive.

          - Or Equal: For products specified by name and accompanied by the term "or equal," "or approved equal," or "or approved," comply with requirements in "Comparable Products" Article to obtain approval for use of an unnamed product.

            - Submit additional documentation required by Architect[ through Construction Manager] in order to establish equivalency of proposed products. Unless otherwise indicated, evaluation of "or equal" product status is by the Architect, whose determination is final.

        - Product Selection Procedures:

Retain "Sole Product" or "Sole Manufacturer/Source" Subparagraph below, or both, where a single product or manufacturer is named in individual Sections.

          - Sole Product: Where Specifications name a single manufacturer and product, provide the named product that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered.

            - Sole product may be indicated by the phrase "Subject to compliance with requirements, provide the following."

          - Sole Manufacturer/Source: Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements. Comparable products or substitutions for Contractor's convenience will not be considered.

            - Sole manufacturer/source may be indicated by the phrase "Subject to compliance with requirements, provide products by the following."

Retain "Limited List of Products" or "Non-Limited List of Products" Subparagraph below, or both, where multiple products are named in individual Sections. Retain one of first two options in first subparagraph if substitutions will be permitted during the Contract period. If retaining third option, note exceptions in individual Specification Sections.

          - Limited List of Products: Where Specifications include a list of names of both manufacturers and products, provide one of the products listed that complies with requirements. Comparable products or substitutions for Contractor's convenience [will] [will not] be considered[ unless otherwise indicated].

            - Limited list of products may be indicated by the phrase "Subject to compliance with requirements, provide one of the following."

"Non-Limited List of Products" Subparagraph below describes product selection procedure that complies with many public agencies' requirements that define the naming of manufacturers and products in specifications as serving the limited purpose of defining a standard of quality but not for the purpose of limiting selection to those manufacturers and products named. Approval of manufacturers and products is solely through the submittal process.

          - Non-Limited List of Products: Where Specifications include a list of names of both available manufacturers and products, provide one of the products listed or an unnamed product that complies with requirements.

            - Non-limited list of products is indicated by the phrase "Subject to compliance with requirements, available products that may be incorporated in the Work include, but are not limited to, the following."

            - Provision of an unnamed product is not considered a substitution, if the product complies with requirements.

Retain "Limited List of Manufacturers" or "Non-Limited List of Manufacturers" Subparagraph below, or both, where multiple manufacturers are named. Retain one of first two options in first subparagraph if substitutions will be permitted during the Contract period. If retaining third option, note exceptions in individual Specification Sections.

          - Limited List of Manufacturers: Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements. Comparable products or substitutions for Contractor's convenience [will] [will not] be considered[ unless otherwise indicated].

            - Limited list of manufacturers is indicated by the phrase "Subject to compliance with requirements, provide products by one of the following."

"Non-Limited List of Manufacturers" Subparagraph below describes product selection procedure that complies with many public agencies' requirements that define the naming of manufacturers and products in specifications as serving the limited purpose of defining a standard of quality but not for the purpose of limiting selection to those manufacturers and products named. Approval of manufacturers and products is solely through the submittal process.

          - Non-Limited List of Manufacturers: Where Specifications include a list of available manufacturers, provide a product by one of the manufacturers listed or a product by an unnamed manufacturer that complies with requirements.

            - Non-limited list of manufacturers is indicated by the phrase "Subject to compliance with requirements, available manufacturers whose products may be incorporated in the Work include, but are not limited to, the following."

            - Provision of products of an unnamed manufacturer is not considered a substitution, if the product complies with requirements.

Retain "Basis-of-Design Product" Subparagraph below if a single product is named in individual Specification Sections or is indicated on Drawings as the basis of design, and if a list of manufacturers' names offering comparable products is included.

          - Basis-of-Design Product: Where Specifications name a product, or refer to a product indicated on Drawings, and include a list of manufacturers, provide the specified or indicated product or a comparable product by one of the other named manufacturers. Drawings and Specifications may additionally indicate sizes, profiles, dimensions, and other characteristics that are based on the product named. Comply with requirements in "Comparable Products" Article for consideration of an unnamed product by one of the other named manufacturers.

            - For approval of products by unnamed manufacturers, comply with requirements in Section 012500 "Substitution Procedures" for substitutions for convenience.

Consider adding additional product requirements paragraphs here if applicable to Project; these may include requirements, such as Buy American Act requirements.

        - Visual Matching Specification: Where Specifications require the phrase "match Architect's sample," provide a product that complies with requirements and matches Architect's sample. Architect's decision will be final on whether a proposed product matches.

          - If no product available within specified category matches and complies with other specified requirements, comply with requirements in Section 012500 "Substitution Procedures" for proposal of product.

        - Visual Selection Specification: Where Specifications include the phrase "as selected by Architect from manufacturer's full range" or a similar phrase, select a product that complies with requirements. Architect will select color, gloss, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

        - Sustainable Product Selection: Where Specifications require product to meet sustainable product characteristics, select products complying with indicated requirements. Comply with requirements in Division 01 sustainability requirements Section and individual Specification Sections.

Retain subparagraph below for LEED v4 projects requiring submittals documenting Environmental Product Declarations, Health Product Declarations, and multi-attribute optimization.

          - Select products for which sustainable design documentation submittals are available from manufacturer.

      - COMPARABLE PRODUCTS

        - Conditions for Consideration of Comparable Products: Architect will consider Contractor's request for comparable product when the following conditions are satisfied. If the following conditions are not satisfied, Architect may return requests without action, except to record noncompliance with the following requirements:

          - Evidence that proposed product does not require revisions to the Contract Documents, is consistent with the Contract Documents, will produce the indicated results, and is compatible with other portions of the Work.

          - Detailed comparison of significant qualities of proposed product with those of the named basis-of-design product. Significant product qualities include attributes, such as type, function, in-service performance and physical properties, weight, dimension, durability, visual characteristics, and other specific features and requirements.

          - Evidence that proposed product provides specified warranty.

          - List of similar installations for completed projects, with project names and addresses and names and addresses of architects and owners, if requested.

          - Samples, if requested.

        - Architect's Action on Comparable Products Submittal: If necessary, Architect will request additional information or documentation for evaluation, as specified in Section 013300 "Submittal Procedures."

          - Form of Approval of Submittal: As specified in Section 013300 "Submittal Procedures."

          - Use product specified if Architect does not issue a decision on use of a comparable product request within time allocated.

Retain "Submittal Requirements, Two-Step Process" or "Submittal Requirements, Single-Step Process" Paragraph below based upon office practice. First paragraph describes traditional two-step submittal process for comparable product followed by full submittal. Second paragraph describes single step submittal process option usable when Project schedule will not be adversely affected by late rejection of submittal.

        - Submittal Requirements, Two-Step Process: Approval by the Architect of Contractor's request for use of comparable product is not intended to satisfy other submittal requirements. Comply with specified submittal requirements.

        - Submittal Requirements, Single-Step Process: When acceptable to Architect, incorporate specified submittal requirements of individual Specification Section in combined submittal for comparable products. Approval by the Architect of Contractor's request for use of comparable product and of individual submittal requirements will also satisfy other submittal requirements.

- EXECUTION (Not Used)

If reference to a special warranty form was added where a single warranty must cover work by several contractors, insert form here and delete "(Not Used)" above.

END OF SECTION 016000