Copyright 2022 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

SECTION 017900 - DEMONSTRATION AND TRAINING

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Content Requests:

<Double click here to submit questions, comments, or suggested edits to this Section.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

- GENERAL

      - SUMMARY

        - Section includes administrative and procedural requirements for instructing Owner's personnel, including the following:

          - Instruction in operation and maintenance of systems, subsystems, and equipment.

          - Demonstration and training video recordings.

Delete "Allowances" and "Unit Price for Instruction Time" paragraphs below if a list of systems, subsystems, and equipment with corresponding length of instruction time is included at end of Part 3. See the Evaluations.

        - Allowances: Furnish demonstration and training instruction time under the demonstration and training allowance as specified in Section 012100 "Allowances."

Retain "Unit Price for Instruction Time" Paragraph below with "Allowances" Paragraph above to provide a method for adjusting length of instruction time provided by the demonstration and training allowance. Coordinate with bidding and proposal forms and with requirements in Section 012200 "Unit Prices."

        - Unit Price for Instruction Time: Length of instruction time will be measured by actual time spent performing demonstration and training in required location. No payment will be made for time spent assembling educational materials, setting up, or cleaning up. See requirements in Section 012200 "Unit Prices."

      - INFORMATIONAL SUBMITTALS

Informational submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

        - Instruction Program: Submit outline of instructional program for demonstration and training, including a list of training modules and a schedule of proposed dates, times, length of instruction time, and instructors' names for each training module. Include learning objective and outline for each training module.

          - Indicate proposed training modules using manufacturer-produced demonstration and training video recordings for systems, equipment, and products in lieu of video recording of live instructional module.

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

        - Qualification Data: For [facilitator] [instructor] [videographer].

        - Attendance Record: For each training module, submit list of participants and length of instruction time.

        - Evaluations: For each participant and for each training module, submit results and documentation of performance-based test.

      - CLOSEOUT SUBMITTALS

        - Demonstration and Training Video Recordings: Submit [two] <Insert number> copies within [seven] <Insert number> days of end of each training module.

          - Identification: On each copy, provide an applied label with the following information:

            - Name of Project.

            - Name and address of videographer.

            - Name of Architect.

            - Name of Construction Manager.

            - Name of Contractor.

            - Date of video recording.

          - Transcript:

Retain one of first two subparagraphs below based on Owner requirements. Coordinate with requirements retained in "Demonstration and Training Video Recordings" Article.

            - Prepared and bound in format matching operation and maintenance manuals. Mark appropriate identification on front and spine of each binder. Include a cover sheet with same label information as the corresponding video recording. Include name of Project and date of video recording on each page.

            - Prepared in PDF electronic format. Include a cover sheet with same label information as the corresponding video recording and a table of contents with links to corresponding training components. Include name of Project and date of video recording on each page.

          - At completion of training, submit complete training manual(s) for Owner's use prepared in same [paper] [and] [PDF file] format required for operation and maintenance manuals specified in Section 017823 "Operation and Maintenance Data."

      - QUALITY ASSURANCE

        - Facilitator Qualifications: A firm or individual experienced in training or educating maintenance personnel in a training program similar in content and extent to that indicated for this Project, and whose work has resulted in training or education with a record of successful learning performance.

        - Instructor Qualifications: A factory-authorized service representative, complying with requirements in Section 014000 "Quality Requirements," experienced in operation and maintenance procedures and training.

        - Videographer Qualifications: A professional videographer who is experienced photographing demonstration and training events similar to those required.

        - Preinstruction Conference: Conduct conference at Project site to comply with requirements in Section 013100 "Project Management and Coordination." Review methods and procedures related to demonstration and training including, but not limited to, the following:

Retain subparagraphs below if required. If retaining, revise to include Owner-specific requirements. Insert additional requirements to suit Project.

          - Inspect and discuss locations and other facilities required for instruction.

          - Review and finalize instruction schedule and verify availability of educational materials, instructors' personnel, audiovisual equipment, and facilities needed to avoid delays.

          - Review required content of instruction.

          - For instruction that must occur outside, review weather and forecasted weather conditions and procedures to follow if conditions are unfavorable.

      - COORDINATION

        - Coordinate instruction schedule with Owner's operations. Adjust schedule as required to minimize disrupting Owner's operations and to ensure availability of Owner's personnel.

        - Coordinate instructors, including providing notification of dates, times, length of instruction time, and course content.

        - Coordinate content of training modules with content of approved emergency, operation, and maintenance manuals. Do not submit instruction program until operation and maintenance data have been reviewed and approved by Architect.

      - INSTRUCTION PROGRAM

Individual Specification Sections include requirements for demonstration and training. Architect may elect to furnish report to Contractor listing applicable Sections and requirements to facilitate development of instruction program; see the Evaluations.

        - Program Structure: Develop an instruction program that includes individual training modules for each system and for equipment not part of a system, as required by individual Specification Sections.

        - Training Modules: Develop a learning objective and teaching outline for each module. Include a description of specific skills and knowledge that participant is expected to master. For each module, include instruction for the following as applicable to the system, equipment, or component:

          - Basis of System Design, Operational Requirements, and Criteria: Include the following:

            - System, subsystem, and equipment descriptions.

            - Performance and design criteria if Contractor is delegated design responsibility.

            - Operating standards.

            - Regulatory requirements.

            - Equipment function.

            - Operating characteristics.

            - Limiting conditions.

            - Performance curves.

          - Documentation: Review the following items in detail:

            - Emergency manuals.

            - Systems and equipment operation manuals.

            - Systems and equipment maintenance manuals.

            - Product maintenance manuals.

            - Project Record Documents.

            - Identification systems.

            - Warranties and bonds.

            - Maintenance service agreements and similar continuing commitments.

          - Emergencies: Include the following, as applicable:

            - Instructions on meaning of warnings, trouble indications, and error messages.

            - Instructions on stopping.

            - Shutdown instructions for each type of emergency.

            - Operating instructions for conditions outside of normal operating limits.

            - Sequences for electric or electronic systems.

            - Special operating instructions and procedures.

          - Operations: Include the following, as applicable:

            - Startup procedures.

            - Equipment or system break-in procedures.

            - Routine and normal operating instructions.

            - Regulation and control procedures.

            - Control sequences.

            - Safety procedures.

            - Instructions on stopping.

            - Normal shutdown instructions.

            - Operating procedures for emergencies.

            - Operating procedures for system, subsystem, or equipment failure.

            - Seasonal and weekend operating instructions.

            - Required sequences for electric or electronic systems.

            - Special operating instructions and procedures.

          - Adjustments: Include the following:

            - Alignments.

            - Checking adjustments.

            - Noise and vibration adjustments.

            - Economy and efficiency adjustments.

          - Troubleshooting: Include the following:

            - Diagnostic instructions.

            - Test and inspection procedures.

          - Maintenance: Include the following:

            - Inspection procedures.

            - Types of cleaning agents to be used and methods of cleaning.

            - List of cleaning agents and methods of cleaning detrimental to product.

            - Procedures for routine cleaning.

            - Procedures for preventive maintenance.

            - Procedures for routine maintenance.

            - Instruction on use of special tools.

          - Repairs: Include the following:

            - Diagnosis instructions.

            - Repair instructions.

            - Disassembly; component removal, repair, and replacement; and reassembly instructions.

            - Instructions for identifying parts and components.

            - Review of spare parts needed for operation and maintenance.

Insert other requirements of Owner, for example, level of proficiency of participants after instruction, percentage of participants passing evaluation test, and so on.

      - PREPARATION

        - Assemble educational materials necessary for instruction, including documentation and training module. Assemble training modules into a training manual organized in coordination with requirements in Section 017823 "Operation and Maintenance Data."

        - Set up instructional equipment at instruction location.

      - INSTRUCTION

        - Facilitator: Engage a qualified facilitator to prepare instruction program and training modules, to coordinate instructors, and to coordinate between Contractor and Owner for number of participants, instruction times, and location.

        - Engage qualified instructors to instruct Owner's personnel to adjust, operate, and maintain systems, subsystems, and equipment not part of a system.

Coordinate first subparagraph below with Owner/Architect Agreement.

          - Architect will furnish an instructor to describe basis of system design, operational requirements, criteria, and regulatory requirements.

Retain first subparagraph below if requested by Owner.

          - Owner will furnish an instructor to describe Owner's operational philosophy.

          - Owner will furnish Contractor with names and positions of participants.

        - Scheduling: Provide instruction at mutually agreed-on times. For equipment that requires seasonal operation, provide similar instruction at start of each season.

          - Schedule training with Owner[, through Architect,][, through Construction Manager,] with at least [seven] <Insert number> days' advance notice.

Revise "Training Location and Reference Manual" Paragraph below if Project circumstances make training for certain components at a remote location desirable. Coordinate below with requirements for scheduling of operation and maintenance data and demonstration and training.

        - Training Location and Reference Material: Conduct training on-site in the completed and fully operational facility using the actual equipment in-place. Conduct training using final operation and maintenance data submittals.

        - Evaluation: At conclusion of each training module, assess and document each participant's mastery of module by use of [an oral] [a written] [a demonstration] performance-based test.

        - Cleanup: Collect used and leftover educational materials and [remove from Project site] [give to Owner]. Remove instructional equipment. Restore systems and equipment to condition existing before initial training use.

      - DEMONSTRATION AND TRAINING VIDEO RECORDINGS

Retain this article if required.

        - General: Engage a qualified commercial videographer to record demonstration and training video recordings. Record each training module separately. Include classroom instructions and demonstrations, board diagrams, and other visual aids, but not student practice.

          - At beginning of each training module, record each chart containing learning objective and lesson outline.

Revise "Digital Video Recordings" Paragraph below to suit Project. Owner may have preferred format for file types based on equipment used by maintenance personnel.

        - Digital Video Recordings: Provide high-resolution, digital video in MPEG format, produced by a digital camera with minimum sensor resolution of [12] <Insert number> megapixels and capable of recording in full HD mode[ with vibration reduction technology].

          - Submit video recordings [on CD-ROM or thumb drive] [by uploading to web-based Project software site].

          - File Hierarchy: Organize folder structure and file locations in accordance with Project Manual table of contents. Provide complete screen-based menu.

          - File Names: Utilize file names based on name of equipment generally described in video segment, as identified in Project specifications.

          - Contractor and Installer Contact File: Using appropriate software, create a file for inclusion on the equipment demonstration and training recording that describes the following for each Contractor involved on the Project, arranged in accordance with Project Manual table of contents:

            - Name of Contractor/Installer.

            - Business address.

            - Business phone number.

            - Point of contact.

            - Email address.

        - Recording: Mount camera on tripod before starting recording, unless otherwise necessary to adequately cover area of demonstration and training. Display continuous running time.

          - Film training session(s) in segments not to exceed 15 minutes.

            - Produce segments to present a single significant piece of equipment per segment.

            - Organize segments with multiple pieces of equipment to follow order of Project Manual table of contents.

            - Where a training session on a particular piece of equipment exceeds 15 minutes, stop filming and pause training session. Begin training session again upon commencement of new filming segment.

        - Light Levels: Verify light levels are adequate to properly light equipment. Verify equipment markings are clearly visible prior to recording.

          - Furnish additional portable lighting as required.

Retain "Narration" and "Transcript" paragraphs below if required. Requirements may be more extensive than necessary for many projects. If Owner requires original video recording to be unmodified, retain first option in first paragraph below. Revise to suit Project.

        - Narration: Describe scenes on video recording by [audio narration by microphone while] [dubbing audio narration off-site after] video recording is recorded. Include description of items being viewed.

        - Transcript: Provide a transcript of the narration. Display images and running time captured from videotape opposite the corresponding narration segment.

        - Preproduced Video Recordings: Provide video recordings used as a component of training modules in same format as recordings of live training.

If an allowance is not included in Part 1, insert a list of systems, subsystems, and equipment that require demonstration and training along with corresponding length of instruction time required. See the Evaluations.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 017900