Copyright 2021 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

SECTION 281513 - ACCESS CONTROL CREDENTIALS

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Content Requests:

<Double click here to submit questions, comments, or suggested edits to this Section.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

- GENERAL

      - SUMMARY

        - Section Includes:

          - Access control cards.

          - Wireless key fobs.

        - Related Requirements:

Always retain two subparagraphs below.

          - Section 260011 "Facility Performance Requirements for Electrical" for seismic-load, wind-load, acoustical, and other field conditions applicable to Work specified in this Section.

          - Section 280010 "Supplemental Requirements for Electronic Safety and Security" for additional abbreviations, definitions, submittals, qualifications, testing agencies, and other Project requirements applicable to Work specified in this Section.

      - ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.

        - Product Data:

Retain one of two subparagraphs below, or both, as needed to verify compliance of Work with Project requirements.

          - Access control cards.

          - Wireless key fobs.

Retain "Certificates" Paragraph below if certificate from manufacturer or fabricator is required by Architect to verify that product or assembly has been investigated and approved/recognized by third party prior to installation.

        - Certificates:

          - <Insert certificate requirement>.

      - INFORMATIONAL SUBMITTALS

Informational submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

Retain "Manufacturers' Published Instructions" Paragraph below when execution requirements state "in accordance with manufacturer's published instructions," especially if those instructions may require preinstallation review and coordination with Construction Documents to verify constructability and commissioning requirements.

        - Manufacturers' Published Instructions: Record copy of official deployment[ and testing] instructions issued to Contractor by manufacturer for the following:

          - Printing, programming, and handling instructions for access control credentials.

- PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

      - EXISTING PRODUCTS FOR CONTINUED USE

        - Basis for Pricing: <Insert name of manufacturer; model number or series for existing product>.

        - Description: <Insert description of existing product, including special features, options, and finishes that may impact Work>.

        - Accessories: <Insert accessories included with existing product>.

      - ACCESS CONTROL CARDS

        - <Double click here to find, evaluate, and insert list of manufacturers and products.>

        - Performance Criteria:

          - General Characteristics:

            - Reference Standards:

Retain "Personal Identity Verification (PIV)" Subparagraph below for Federal Government projects. Other owners may also use similar technology. PIV cards provide identity information that can be verified both by humans (e.g., photo) and by automated systems (e.g., fingerprints, iris images, PIN).

              - Personal Identity Verification (PIV): FIPS PUB 201-2.

              - Physical: IEC 7810; IEC 10373; IEC 7816 for contact cards; and IEC 14443 for contactless cards.

              - Functional: UL 294; IEC 60839-11-1; and IEC 60839-11-2.

              - Material Durability: INCITS 322.

            - Format: Customizable, including artwork.[ Provide credential template with provisions for the following:]

Retain "On Front," "On Back," and "Stored Data Elements" subparagraphs below where access control cards may be issued by third party. Revise subparagraphs to suit Project.

              - On Front: Photograph, full name (surname first), affiliation, organization, card expiration date, color-coding, Owner's name, Owner's logo, two-dimensional bar code.

              - On Back: Physical characteristics of cardholder, employee ID number, card number, magnetic stripe, linear bar code, return address. Include the following message:

                - <Insert message>.

              - Stored Data Elements: PIN, employee ID number, two fingerprint templates, electronic facial image, one iris image, digital signature private key and certificate, key management private key and certificate, card authenticate data, and PIV authentication data.

        - Options:

          - Data Format: Wiegand [26 bit] [34 bit] [37 bit].

          - Transmit Frequency: [125 kHz] [and] [13.56 MHz].

          - Data Retention: [10] [20] years.

          - Memory Capacity: [2.5 kB] [8 kB] [16 kB] [32 kB].

          - Operating Temperature: [Minus 40 to plus 185 deg F (Minus 40 to plus 85 deg C)].

          - Materials: [Plastic] [ABS] [PVC laminate].

          - Color: [White] [Off-white] [Glossy white] <Insert color>.

          - Reading Medium: [Multi-criteria use] [Proximity] [and] [chip] [and] [magnetic strip].

      - WIRELESS KEY FOBS

        - <Double click here to find, evaluate, and insert list of manufacturers and products.>

        - Performance Criteria:

          - General Characteristics:

            - Reference Standards:

              - Physical: IEC 7810; IEC 10373; IEC 7816 for contact cards; and IEC 14443 for contactless cards.

              - Functional: UL 294; IEC 60839-11-1; and IEC 60839-11-2.

              - Material Durability: INCITS 322.

            - Format: Customizable, including artwork.

          - Stored Data Elements: PIN, employee ID number, two fingerprint templates, electronic facial image, one iris image, digital signature private key and certificate, key management private key and certificate, and card authenticate data.

        - Options:

          - Memory: [1 kB] [4 kB] [80 kB].

          - Operating Temperature: [Minus 49 to plus 185 deg F (Minus 45 to plus 85 deg C)].

          - Transmit Frequency: [125 kHz] [and] [13.56 MHz].

          - Read Range: Up to [3/4 inch (19 mm)] [2 inch (51 mm)] [3 inch (76 mm)] [4 inch (102 mm)].

          - Format: Wiegand [26 bit] [37 bit].

          - Data Retention: [10] [20] years.

          - Materials: [Plastic] [Epoxy] [Polycarbonate] [ABS shell with TPE insert].

          - Color: [Dark gray] [Black] [Transparent blue] [White] <Insert color>.

          - Connector: USB 2.0 connector, Type A (male).

          - External numbering.

        - Accessories:

          - Key ring.

- EXECUTION

      - DEPLOYMENT

        - Comply with manufacturer's published instructions.

Retain "Third-Party Issuing of Access Control Credentials" Paragraph below if Owner requires that third-party print and issue access control credentials.

        - Third-Party Issuing of Access Control Credentials:

          - Printing of New Credentials: Contractor must be capable of programming and issuing credentials compatible with Owner's access control system.

            - Initial Issuance: Provide spreadsheet or form for collecting data for generation of credentials. Owner will submit completed form containing data for personnel to be issued credentials. Print and provide initial run, printed and programmed credentials in specified format within [four] <Insert number> weeks of request.

            - Ongoing Issuance: Produce additional credentials upon Owner request. Owner will submit completed form containing data for personnel to be issued credentials. Print and program credentials in specified format within [one] [two] weeks of request.

        - Interfaces with Other Work:

          - Coordinate access control credentials with integrated credential readers and access control system architecture.

END OF SECTION 281513